## Payback Period
Savings and Return Estimator
Citation: ASHRAE Journal, Vol.47, No.12, Pages: 46-50, Dec. 2005
Assumes heating source is forced air furnaces, average of 1 therm/sq.ft
Part I: Heating Season Savings Calculator
3.3 Years | [6 empty] | 25.33% | [6 empty] | 2533.3195
Estimated Payback Period | [7 empty] | Estimated Reduction in Annual Heating Gas Usuage | [5 empty] | Estimated Seasonal Savings
| Temperature Measurements | [9 empty] | Proposal Details
|  | 28 |  | Avg. Heating Season Outdoor Temp F | [7 empty] | 2 |  | Number of Fans
|  |  |  | Information for your region can be found | [5 empty] | here. |  | 1 |  | Fan Motor Size
|  | 59 |  | Heating Season Indoor Set Point | [9 empty] | 0.5 for 8', 12', and 16' fans
|  | 88 |  | Avg. Temperature at Ceiling Deck F | [9 empty] | 1.0 for 20' fans
|  |  |  | Absent reliable data, 1F/foot of ceiling height above the temperature at floor level is a reliable aproximation. | [6 empty] | $ | 8400 |  | Total Price of Quote
| Seasonal Billing Details | [9 empty] | Application Dimensions
| $ | 0.01 |  | Avg. Cost of Electricity Per kWH | [7 empty] | 10 |  | Distance between heat source and ceiling (Ft)
| $ | 0.5 |  | Avg. Cost of Natural Gas Per Therm
|  | 20000 |  | Annual Heating Gas Usage in Therms | [9 empty] | If located at ceiling height, clearance from fan blades to ceiling is a useful substitute
[5 empty] | MCF= | 0 |  |  | Therms
|  |  |  | 1 Therm/Square foot is a reasonable approximation in most industrial settings. | [9 empty] | Distance between heat sources and floor (ft.)
25
|  | 220 |  | Avg. number of heating season days | [9 empty] | If Located in the floor, clearance to the expected height of the fan blades is a useful substitute
|  |  |  | Information for your region is |  |  |  | here
|  | 20 |  | No. Shift Hours in Regular Working Day | [7 empty] | 20000 |  | Facility Square Footage
Part II: Cooling Season Savings Calculator
Please Enter Cooling Season Temp
| Enter Your Ambient Temperature (F) | [5 empty] | Productivity Relative to Basis of 70F | [6 empty] | Productivity Loss Due to High Temperatures
Additional Planning Resources
| LEED |  | (Link) | [7 empty] | Living Building Challenge |  |  |  | (Link)
|  | EQ Prerequisite 1 - Minimum Indoor Air Quality Strategies | [9 empty] | Imperative 06 - Net Positive Energy
|  | EA Credit 1 - Enhanced Indoor Air Quality Strategies | [9 empty] | Imperative 08 - Healthy Indoor Environment
|  | EQ Credit 5 - Thermal Comfort | [9 empty] | Imperative 10 - Red List
|  | EQ Prerequisite 2 - Minimum Energy Performance | [8 empty] | Green Globes |  |  | (Link)
|  | EA Credit 2 - Optimize Energy Performance | [9 empty] | Section 3.30 - Energy, Path B
|  | EA Credit 4 - Demand Response | [9 empty] | Section 3.71 - Ventilation Requirements
EA Credit 6 - Enhanced Refrigerant Management
State Incentives Database
|  | IN Credit 1 - Innovation | [9 empty] | http://www.dsireusa.org